## Tabelle1
bus_name | variable_name | technology_name | abreviation | existingCapacityy2020 | existingCapacityy2025 | existingCapacityy2030 | existingCapacityy2035 | existingCapacityy2040 | existingCapacityy2045 | existingCapacityy2050 | commissionedCapacityy2020 | commissionedCapacityy2025 | commissionedCapacityy2030 | commissionedCapacityy2035 | commissionedCapacityy2040 | commissionedCapacityy2045 | commissionedCapacityy2050
b1 | PexistingR |  | r1 | 251.0703 | 251.0703 | 251.0703 | 248.9034 | 221.084 | 154.3667 | 0 | 28 | 0 | 0 | 0 | 0 | 0 | 0
b1 | PexistingR |  | r2 | 251.0703 | 251.0703 | 251.0703 | 248.9034 | 221.084 | 154.3667 | 0 | 28 | 0 | 0 | 0 | 0 | 0 | 0
b1 | PexistingR |  | r3 | 251.0703 | 251.0703 | 251.0703 | 248.9034 | 221.084 | 154.3667 | 0 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | Existence of Capacities built before 2020 (MW)/(MWh)
b1 | PexistingR |  | r4 | 4 | 4 | 4 | 4 | 4 | 4 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b1 | PexistingR |  | r5 | 4 | 4 | 4 | 4 | 4 | 4 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sources:
b1 | PexistingR |  | r6 | 4 | 4 | 4 | 4 | 4 | 4 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | National energy Commision of Chile ,link: https://www.cne.cl/en/estadisticas/electricidad/
b1 | PexistingR |  | r7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sandia National Laboratories, DOE Global Energy Storage Database, link: https://www.energystorageexchange.org/projects
b1 | PexistingR |  | r8 | 394.5223 | 386.6053 | 377.6053 | 289.6053 | 236.2902 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b1 | PexistingR |  | r9 | 4.56 | 4.56 | 4.56 | 4.56 | 4.56 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sources for comissioned capacities:
b1 | VexistingST |  | st1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | National energy Commision of Chile ,link: https://www.cne.cl/en/estadisticas/electricidad/
b1 | VexistingST |  | st2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sandia National Labpratories, DOE Global Energy Storage Database, link: https://www.energystorageexchange.org/projects
b1 | VexistingST |  | st3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b1 | VexistingST |  | st4 | 63.103 | 63.103 | 63.103 | 17.961 | 3.5 | 3.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b1 | VexistingST |  | st5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b1 | VexistingST |  | st6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b1 | VexistingST |  | st7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b1 | PexistingCT | Water turbine | ct1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b1 | PexistingCT | Water pump | ct2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b1 | PexistingCT | Li ion (charger) | ct3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b1 | PexistingCT | Li ion (discharger) | ct4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b1 | PexistingCT | Electrolyzer | ct5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b1 | PexistingCT | Fuel cell | ct6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b1 | PexistingCT | Methanizer | ct7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b1 | PexistingCT | Regasification of LNG | ct8 | 63.103 | 63.103 | 63.103 | 17.961 | 3.5 | 3.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b1 | PexistingCT | Gas turbine OC | ct9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b1 | PexistingCT | Vanadium Redox Flow Battery (charger) | ct10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b1 | PexistingCT | Vanadium Redox Flow Battery (discharger) | ct11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b1 | PexistingCT | Electrical rod | ct12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b1 | PexistingCT | Solar array (CSP)heliostat | ct13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b1 | PexistingCT | CSP Steam turbine | ct14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b1 | PexistingCT | Direct air carbon capture | ct15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b1 | PexistingCT | Gas turbine CC | ct16 | 63.103 | 63.103 | 63.103 | 17.961 | 3.5 | 3.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b1 | PexistingCT | H2 turbine | ct17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b1 | PexistingCT | H2 compressor | ct18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b1 | PexistingG |  | g1 | 850 | 720 | 720 | 720 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b1 | PexistingG |  | g2 | 1083 | 1077 | 1074 | 948 | 331 | 165 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2 | PexistingR |  | r1 | 5.8584 | 5.8584 | 5.8584 | 5.8584 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2 | PexistingR |  | r2 | 5.8584 | 5.8584 | 5.8584 | 5.8584 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2 | PexistingR |  | r3 | 5.8584 | 5.8584 | 5.8584 | 5.8584 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2 | PexistingR |  | r4 | 182.4381 | 182.4381 | 182.4381 | 182.4381 | 182.4381 | 182.4381 | 39.3833 | 7.8333 | 0 | 0 | 0 | 0 | 0 | 0
b2 | PexistingR |  | r5 | 182.4381 | 182.4381 | 182.4381 | 182.4381 | 182.4381 | 182.4381 | 39.3833 | 7.8333 | 0 | 0 | 0 | 0 | 0 | 0
b2 | PexistingR |  | r6 | 182.4381 | 182.4381 | 182.4381 | 182.4381 | 182.4381 | 182.4381 | 39.3833 | 7.8333 | 0 | 0 | 0 | 0 | 0 | 0
b2 | PexistingR |  | r7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2 | PexistingR |  | r8 | 52 | 52 | 44 | 38 | 38 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2 | PexistingR |  | r9 | 55 | 55 | 55 | 55 | 53 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2 | VexistingST |  | st1 | 30.8 | 30.8 | 30.8 | 30.8 | 30.8 | 30.8 | 30.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2 | VexistingST |  | st2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2 | VexistingST |  | st3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2 | VexistingST |  | st4 | 2283.7555 | 2283.7555 | 1184.6255 | 524.281 | 137.93 | 133.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2 | VexistingST |  | st5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2 | VexistingST |  | st6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2 | VexistingST |  | st7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2 | PexistingCT | Water turbine | ct1 | 30.8 | 30.8 | 30.8 | 30.8 | 30.8 | 30.8 | 30.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2 | PexistingCT | Water pump | ct2 | 30.8 | 30.8 | 30.8 | 30.8 | 30.8 | 30.8 | 30.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2 | PexistingCT | Li ion (charger) | ct3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2 | PexistingCT | Li ion (discharger) | ct4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2 | PexistingCT | Electrolyzer | ct5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2 | PexistingCT | Fuel cell | ct6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2 | PexistingCT | Methanizer | ct7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2 | PexistingCT | Regasification of LNG | ct8 | 2283.7555 | 2283.7555 | 1184.6255 | 524.281 | 137.93 | 133.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2 | PexistingCT | Gas turbine OC | ct9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2 | PexistingCT | Vanadium Redox Flow Battery (charger) | ct10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2 | PexistingCT | Vanadium Redox Flow Battery (discharger) | ct11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2 | PexistingCT | Electrical rod | ct12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2 | PexistingCT | Solar array (CSP)heliostat | ct13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2 | PexistingCT | CSP Steam turbine | ct14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2 | PexistingCT | Direct air carbon capture | ct15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2 | PexistingCT | Gas turbine CC | ct16 | 2283.7555 | 2283.7555 | 1184.6255 | 524.281 | 137.93 | 133.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2 | PexistingCT | H2 turbine | ct17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2 | PexistingCT | H2 compressor | ct18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2 | PexistingG |  | g1 | 884 | 544 | 544 | 272 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b2 | PexistingG |  | g2 | 935.1837 | 800.8847 | 800.8847 | 675.4647 | 81.8 | 77.235 | 0 | 50 | 0 | 0 | 0 | 0 | 0 | 0
b3 | PexistingR |  | r1 | 372.0621 | 398.0954 | 398.0954 | 341.2859 | 194.9764 | 94.0333 | 26.0333 | 68 | 26.0333 | 0 | 0 | 0 | 0 | 0
b3 | PexistingR |  | r2 | 372.0621 | 398.0954 | 398.0954 | 341.2859 | 194.9764 | 94.0333 | 26.0333 | 68 | 26.0333 | 0 | 0 | 0 | 0 | 0
b3 | PexistingR |  | r3 | 372.0621 | 398.0954 | 398.0954 | 341.2859 | 194.9764 | 94.0333 | 26.0333 | 68 | 26.0333 | 0 | 0 | 0 | 0 | 0
b3 | PexistingR |  | r4 | 358.8835 | 358.8835 | 358.8835 | 358.8835 | 358.8835 | 235.9263 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b3 | PexistingR |  | r5 | 358.8835 | 358.8835 | 358.8835 | 358.8835 | 358.8835 | 235.9263 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b3 | PexistingR |  | r6 | 358.8835 | 358.8835 | 358.8835 | 358.8835 | 358.8835 | 235.9263 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b3 | PexistingR |  | r7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b3 | PexistingR |  | r8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b3 | PexistingR |  | r9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b3 | VexistingST |  | st1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b3 | VexistingST |  | st2 | 12 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b3 | VexistingST |  | st3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b3 | VexistingST |  | st4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b3 | VexistingST |  | st5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b3 | VexistingST |  | st6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b3 | VexistingST |  | st7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b3 | PexistingCT | Water turbine | ct1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b3 | PexistingCT | Water pump | ct2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b3 | PexistingCT | Li ion (charger) | ct3 | 12 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b3 | PexistingCT | Li ion (discharger) | ct4 | 12 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b3 | PexistingCT | Electrolyzer | ct5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b3 | PexistingCT | Fuel cell | ct6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b3 | PexistingCT | Methanizer | ct7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b3 | PexistingCT | Regasification of LNG | ct8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b3 | PexistingCT | Gas turbine OC | ct9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b3 | PexistingCT | Vanadium Redox Flow Battery (charger) | ct10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b3 | PexistingCT | Vanadium Redox Flow Battery (discharger) | ct11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b3 | PexistingCT | Electrical rod | ct12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b3 | PexistingCT | Solar array (CSP)heliostat | ct13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b3 | PexistingCT | CSP Steam turbine | ct14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b3 | PexistingCT | Direct air carbon capture | ct15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b3 | PexistingCT | Gas turbine CC | ct16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b3 | PexistingCT | H2 turbine | ct17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b3 | PexistingCT | H2 compressor | ct18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b3 | PexistingG |  | g1 | 760 | 760 | 456 | 152 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b3 | PexistingG |  | g2 | 1366.8797 | 1286.5195 | 1286.5195 | 1286.5195 | 539.437 | 532.067 | 0 | 217 | 0 | 0 | 0 | 0 | 0 | 0
b4 | PexistingR |  | r1 | 99.2093 | 99.2093 | 99.2093 | 99.2093 | 36.873 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b4 | PexistingR |  | r2 | 99.2093 | 99.2093 | 99.2093 | 99.2093 | 36.873 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b4 | PexistingR |  | r3 | 99.2093 | 99.2093 | 99.2093 | 99.2093 | 36.873 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b4 | PexistingR |  | r4 | 404.5769 | 404.5769 | 404.5769 | 404.5769 | 404.5769 | 335.6937 | 106 | 73.3333 | 0 | 0 | 0 | 0 | 0 | 0
b4 | PexistingR |  | r5 | 404.5769 | 404.5769 | 404.5769 | 404.5769 | 404.5769 | 335.6937 | 106 | 73.3333 | 0 | 0 | 0 | 0 | 0 | 0
b4 | PexistingR |  | r6 | 404.5769 | 404.5769 | 404.5769 | 404.5769 | 404.5769 | 335.6937 | 106 | 73.3333 | 0 | 0 | 0 | 0 | 0 | 0
b4 | PexistingR |  | r7 | 39.7 | 39.7 | 39.7 | 39.7 | 39.7 | 39.7 | 39.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b4 | PexistingR |  | r8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b4 | PexistingR |  | r9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b4 | VexistingST |  | st1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b4 | VexistingST |  | st2 | 20.18 | 20.18 | 20.18 | 0.18 | 0.18 | 0.18 | 0.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b4 | VexistingST |  | st3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b4 | VexistingST |  | st4 | 2164.865 | 2128.765 | 1255.242 | 521.71 | 521.71 | 521.71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b4 | VexistingST |  | st5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b4 | VexistingST |  | st6 | 5387.2 | 5387.2 | 5387.2 | 5387.2 | 5387.2 | 5387.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b4 | VexistingST |  | st7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b4 | PexistingCT | Water turbine | ct1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b4 | PexistingCT | Water pump | ct2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b4 | PexistingCT | Li ion (charger) | ct3 | 20.18 | 20.18 | 20.18 | 0.18 | 0.18 | 0.18 | 0.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b4 | PexistingCT | Li ion (discharger) | ct4 | 20.18 | 20.18 | 20.18 | 0.18 | 0.18 | 0.18 | 0.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b4 | PexistingCT | Electrolyzer | ct5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b4 | PexistingCT | Fuel cell | ct6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b4 | PexistingCT | Methanizer | ct7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b4 | PexistingCT | Regasification of LNG | ct8 | 2164.865 | 2128.765 | 1255.242 | 521.71 | 521.71 | 521.71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b4 | PexistingCT | Gas turbine OC | ct9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b4 | PexistingCT | Vanadium Redox Flow Battery (charger) | ct10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b4 | PexistingCT | Vanadium Redox Flow Battery (discharger) | ct11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b4 | PexistingCT | Electrical rod | ct12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b4 | PexistingCT | Solar array (CSP)heliostat | ct13 | 275 | 275 | 275 | 275 | 275 | 275 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b4 | PexistingCT | CSP Steam turbine | ct14 | 110 | 110 | 110 | 110 | 110 | 110 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b4 | PexistingCT | Direct air carbon capture | ct15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b4 | PexistingCT | Gas turbine CC | ct16 | 2164.865 | 2128.765 | 1255.242 | 521.71 | 521.71 | 521.71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b4 | PexistingCT | H2 turbine | ct17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b4 | PexistingCT | H2 compressor | ct18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b4 | PexistingG |  | g1 | 3045.639 | 2872.639 | 1995.069 | 1383.169 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b4 | PexistingG |  | g2 | 267.7736 | 169.4127 | 161.4127 | 161.4127 | 49.0315 | 43.5749 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0